9/09

Building Corridor Use Exemption Request Form

Policies and procedures pertaining to building corridor and hallway use in university facilities may be found in the Administrative Procedures Manual (APM) Chapter 35, sections 23, 27 and 34.

Nothing may be placed in corridors that might impede an immediate, rapid exit from the building or floor.  Items may never be placed in front of,    or block or restrict the visibility or access to, exit doors or exit signs and should never be placed in stairwells, no matter how temporary.

The basic university policy is to keep corridors and hallways clear of obstructions, regardless of exit width. However, this form may be used to submit requests to Environmental Health and Safety (EHS) for specific exceptions to this policy.

EHS evaluates requests on a case-by-case basis and exemptions that are granted may be applied only to the specific situation(s), item(s) and location(s) noted on the completed form.  Unapproved items placed in corridors, hallways, or other paths of entry or egress may be subject to immediate removal at the expense of the responsible department.

For additional information, please call Environmental Health and Safety, (208) 885-6524.

To be completed and signed by requestor / reviewed and signed by appropriate unit administrator

Building Name:  						Unit:

Description of item to be placed in corridor/hallway:

Location where item is to be placed in corridor/hallway:

Reason item needs to be placed in corridor/hallway:

Requestor’s Name / Title 					     Unit Administrator’s Name / Title

Phone Number		            Date							              Date

Submit the competed form to Environmental Health and Safety.

EHS Use Only

Request Denied *								  Request Granted

*	  Item(s) will reduce the width of corridor/hallway to less than the required minimum

*	  Item(s) will not allow a straight path to be maintained down the entire path of travel

*	  Items(s) will not be fixed to the floor or wall and are considered movable

*	  Items(s) are considered as flammable, combustible or otherwise hazardous materials

*	  Items(s) will restrict the visibility or access to, exit doors or exit signs or block access to, or operation of, circuit

breaker boxes, fire extinguishers, fire alarm pull stations, or other emergency equipment

*	  Items(s) are considered permanent storage

*	  Item(s) are surplus and it cannot be verified that arrangements have been made to have them removed in a

timely manner.

Comments:

Director, Environmental Health and Safety								              Date