# University of Idaho Institutional Biosafety Committee

| Date: | Monday, February 9, 2026 |
| --- | --- |
| Time: | 11:00 a.m. PT |
| Location: | IRIC 321 or Zoom from a computer: https://uidaho.zoom.us/j/81341123662 Passcode: 085879 or phone: (646) 876-9923 Meeting ID: 813 4112 3662. |
| Attendance: | Voting: Paul Rowley (Chair), Amy Skibiel, Penny Borden (208-3103087), Josie Boyer, Russell McClanahan, Dorah Mtui, Steve Russell, Nathan Schiele, and Kasia Duellman Non-voting: Arch Harner (Non-voting) Administrative: Himanshi Singh Quorum was met with 9 of 9 members present |

Meeting called to order at 11:03 a.m.

- Old Business

  - Review of minutes from the previous meetings.

    - Discussion

    - Motion to approve.

      - Unanimously approved, no discussion.

  - Review protocol activity since the previous meeting.

    - IBC-25-030 (Liang) – AG Science 129A IBC application.

      - Proposed at BSL-2

      - Discussion

        - 5.3 & 10.0 Requesting removal of human materials (milk, digester, fecal samples) and associated references from the protocol, and submit an amendment when human work begins, including IRB protocol.

        - 5.3 Regarding pig intestine work, specifically integrating relevant information from the attached document into the main text of 5.3.

        - 5.3 Clarify or describe the use of organoids and human-derived cell types in the appropriate section of the protocol for better synergy between sections.

      - Motion for modifications required to secure approval pending correction to items 1-3 above.

        - Unanimously approved.

- New Business

  - Three Year Renewal of Previously Approved Protocols

    - IBC-26-001 (Udekwu) – Altering microbiome composition through rationally designed antimicrobial and nutrient cycling regimen.

      - Proposed at BSL-2

      - Discussion

        - 5.1 Change protocol status from "new" to "renewal" and link the previous IBC protocol.

        - 5.3 Provide more detail on the risk and mitigation procedures for venting tubes after incubation, specifying if this should be done in a biosafety cabinet.

        - 5.3 Provide some clarification on what it is meant by “Wild-types”.

        - 5.3.A and 5.4 Clarify what is meant by "transported in accordance with standard laboratory protocol” and specify if double containment is used. And move all to 5.4.

        - 5.3.C Safety Glasses are listed as optional. This should be changed to be worn at all times in laboratory.

      - Motion for modifications required to secure approval pending correction to items 1-5 above.

        - Unanimously approved.

        - IBC-26-003 (Xiao) – Copy of Copy of Teaching PlSc440 Advanced Laboratory Techniques in AgSci 141

          - Proposed at BSL-1; Renewal: IBC-23-002 Expires: 03/05/2026

          - Discussion

            - 5.1 Link previous IBC protocol.

            - 5.3.B. Remove chemical safety statement regarding fume hood use for chloroform extraction of DNA, as it is not relevant to biosafety.

            - 5.4 Remove repeated text in 5.4 (copy of 5.3) and answer transport questions specifically.

            - 5.5.A Check chemical disinfection if used for liquid waste.

            - 6.1 Check and fill out 6th greenhouse bay biosafety level.

            - 9.3 Check “Yes”

            - 10.2 Check “Yes”

            - 10.4 Check “Yes”

H. Singh joined the meeting at 11:18 a.m.

          - Motion for modifications required to secure approval pending correction to items 1-8 above.

            - Unanimously approved.

D. Mtui left the meeting at 11:26 a.m.

        - IBC-26-002 (Mtui) – Copy of Biomaterial Deterioration and Protection starting Spring 2023

          - Proposed at BSL-1; Renewal: IBC-22-036 Expires: 02/23/2026

          - Discussion

            - 5.1 Link previous IBC protocol.

            - 5.3.C. Clarify eye protection requirements to specify that eye protection should be worn at all times.

            - 5.3 & 5.4 Rationalize the exclusive use of 70% ethanol for decontamination/spill response, or include 10% bleach as appropriate. This is due to the fact the 70% ethanol may not be fully affective against spores.

            - 8.1 Correctly reflect that Bacillus subtilis can affect humans (change risk group description).

            - Internal Comment: IBC had some concerns about who is the correct Principal Investigator for the protocol. Please coordinate with BSO to discuss the circumstances around this protocol.

          - Motion for modifications required to secure approval pending correction to items 1-4 above.

            - Unanimously approved.

Meeting adjourned at 11:40 a.m.